**CHECKLIST FOR FILING MEPCO NET METERING APPLICATIONS**

1. In case of NET Metering, Installation of Solar system is only allowed from AEDB approved Installers/vendors.
2. Upgrade your **Connection Type: 3 Phase & Load applied for DG Facility can be equal 1.5 times than load Sanctioned**

**Ranging between 01 Kw to 1000 Kw**

1. Distributed Generation Interconnection Agreement between Distributed Generator and Distribution Company (**Schedule-I**).
2. Standard Distributed Generation Application Form For Distribution Company (**Schedule-II**).
3. Application for grant of License National Electric Power Regulatory Authority (NEPRA) (**Schedule-III**).
4. Application for Exemption from section 24 of the Act (**Schedule-IV**)
5. Fee Schedule (**Schedule-V**).
6. Affidavit (On non-judicial paper) (**Schedule-VI**).
7. Generation License Template (**Schedule-VII**).
8. Attested copy of CNIC of Applicant and Witnesses from applicant.
9. Copy of last paid electricity bill. (**Name of applicant and name mentioned on electricity bill must be same**).
10. Technical Data of components including solar modules, invertors, etc.
11. Schematic drawings, Single line diagram of the system.
12. Site plan showing location of external disconnect switch.
13. Certificate from Electrical Inspector if DG facility is Above 250 KW.
14. Load Flow Study if DG Facility is greater than 250 KW.
15. Installation/Inspection Certificate of Electrical Installations from Installers/ AEDB approved vendors.
16. In case of company, CUIN certificate is required.